## Slide 1: IBS754
Tim Read
DNA Sequencing Technologies

## Slide 2: Plan
Lecture
  Sequencing technology and data
Exercise
  Fastq files and visualization
  Running Rscripts on the command line
  Running script through make
  Small homework assignment

## Slide 3: Genomics = Technology
It is very important to understand the basis of the technology that generates the raw sequence data used in your analysis

## Slide 4: Genomics = Technology
Sequencing technology changes very rapidly – you need to check back at least every six months

## Slide 5: Genomics = Technology
New emerging technologies may deliver interesting new data types that allow experiments that were not possible before
  e.g (direct sequencing of methylated DNA bases by PacBio)

## Slide 6: DNA Sequencing History (I)
1973: Gilbert & Maxam publish DNA sequence by chemical cleavage
1977: Fred Sanger’s chain termination method
1979: First genome – phiX174
1986: ABI releases automated sequencer using fluorescent dyes
http://www.nlm.nih.gov/visibleproofs/media/gallery/vi_a_208b.jpg

## Slide 7: DNA Sequencing History (II)
1995: First free living organism genome :
H. influenzae
1998: ABI releases capillary electrophoresis instrument
2003: Human genome completed (mostly)

## Slide 8: DNA Sequencing History (III)
2005: 454 Unveils the GS-20 – the first commercial ‘next generation’ sequencer.
2006: Commercial release of the Solexa (later Illumina, GA1)
2009: Illumina GAII used to find mutations between healthy and cancer tissue tissue in a single patient.
2010: pacBio releases first single-molecule sequencer
2012: Oxford Nanopore demonstrates “laptop sequencer”
2015: Plans announced for “one million human genome” project

## Slide 9
Figure 1.6 From Brown Genomes 3 (© Garland Science 2007) No redistribution outside AHPL servers without publishers permission.

## Slide 10
From: Brown, Figure 4.2 Genomes 3 (© Garland Science 2007). No redistribution outside AHPL servers without publishers permission.

## Slide 11
From: Brown, Figure 4.3 Genomes 3 (© Garland Science 2007). No redistribution outside AHPL servers without publishers permission.

## Slide 12: 1st versus 2nd generation sequencing
1st generation: One tube = 1 sequence
2nd generation: One tube = millions of sequences

## Slide 14: 454 sequencing
Introduced in 2005 (First second gen technology)
Withdrawn in 2014
Emulsion-PCR signal amplification of single molecule DNA on bead
Measure base extensions using pyrosequencing

## Slide 15: Pyrosequencing
Sulfurylase
Luciferase
APS+PPi
ATP
luciferin
oxyluciferin
ATP
Light
PPi released from
nucleotide extension

## Slide 16: 454: high throughput pyrosequencing by synthesis

## Slide 17
Ion Torrent

## Slide 18: Ion Torrent
https://www.youtube.com/watch?v=WYBzbxIfuKs

## Slide 19: Ion Torrent
Semiconductor sequencing – no cameras
Same problems as the 454 – homopolymers
Cost per Mbase higher than Illumina

## Slide 20: Illumina video
https://www.youtube.com/watch?v=HMyCqWhwB8E

## Slide 21: Illumina sequencing using reversible terminators

## Slide 22: Paired end sequencing

## Slide 23: Complete Genomics
Very high throughput second generation technologies
Only sequences a limited number of mammalian genomes
By service only (doesn’t sell instruments)
Data interpretation is complex

## Slide 24: DNA nanoballs

## Slide 25: DNBs onto array

## Slide 26: Ligase based sequencing (SOliD)

## Slide 27: 2nd versus 3rd generation sequencing
2nd generation: One tube = millions of amplified sequences
3rd generation: One tube = thousands of single DNA molecules

## Slide 28: Pacific Biosciences (2011)
Observable volume

## Slide 29
Nanopore Sequencing
Nat Biotechnol. 2008 26(10):1146-53
Challenges remain: slow down DNA translocation from msec to msec, pore stability, stochastic motion of DNA molecule, noise, sensitivity
Potential: High speed, long > 25kb reads, low cost (no enzymes)
Anal Chem. 2011 83(12):4327-41.

## Slide 30: PacBio Video
http://www.youtube.com/watch?v=NHCJ8PtYCFc

## Slide 31: New Approaches: Hypothesis free detection of DNA modification using PacBio
Adenine methylation map of an E. coli

## Slide 32: Oxford Nanopore Laptop sequencing
Oxford Nanopore MinIon

## Slide 33: Oxford nanopore video
https://www.youtube.com/watch?v=3UHw22hBpAk

## Slide 34
Torsten Seeman

## Slide 35: “Read Until”
Potentially a Killer App for Oxford nanopore
Read first 100 bp DNA emerging at each nanopore
Machine decides whether to keep on sequencing based on sequence match
If not, recycle the read and sample anther DNA fragment
http://www.biorxiv.org/content/early/2016/02/03/038760

## Slide 36: Summary
1.Loman, N. J. et al. High-throughput bacterial genome sequencing: an embarrassment of choice, a world of opportunity. Nat Rev Microbiol 10, 599–606 (2012).

## Slide 37: Some 2015 comparisons
Chris Mason

## Slide 38: 2nd and 3rd generation technologies
454
IonTorrent
Illumina
Complete Genomics
Solid
PacBio
Oxford Nanopore

## Slide 39: Deprecated technlogies
454
IonTorrent
Illumina
Complete Genomics
Solid
PacBio
Oxford Nanopore

## Slide 40: On the way out
454
IonTorrent
Illumina
Complete Genomics
Solid
PacBio
Oxford Nanopore

## Slide 41: Current winners
454
IonTorrent
Illumina
Complete Genomics
Solid
PacBio
Oxford Nanopore

## Slide 42: The highly rated prospect
454
IonTorrent
Illumina
Complete Genomics
Solid
PacBio
Oxford Nanopore

## Slide 43: Nextgen technology applications
Third generation?
The formula is not as simple as cost per base. Shorter and/or lower quality reads are less useable for data analysis.

## Slide 45: The hype cycle
Jeremy Kemp/ Wikimedia Commons

## Slide 46: Quality Scores
Phred software estimates error rate based on electropherogram (Ewing et al. 1998).
Linked error probability (P) to electropherogram curve size, shape
Q = [ − 10.log10(P)].
Therefore a Q score of 20 has a 1 in 100 chance of being incorrect.

## Slide 47: Phred or ”Q” scores
Mark Mcmanes

## Slide 48: FastQ
The standard format for storing sequence data
Very large text file
WARNING – at least 2 common variations on the format

## Slide 49: FastQ format
Each sequence comprises 4 lines
@SRR001666.1 071112_SLXA-EAS1_s_7:5:1:817:345 length=36
GGGTGATGGCCGCTGCCGATGGCGTCAAATCCCACC
+SRR001666.1 071112_SLXA-EAS1_s_7:5:1:817:345 length=36
IIIIIIIIIIIIIIIIIIIIIIIIIIIIII9IG9IC